North End Fire Station

City of Fall River

ADA Transition Plan

September 2019

200 Portland Street, Boston, MA 02114

www.IHCDesign.org • info@IHCDesign.org

617-695-1225 voice/tty

North End Fire Station

Background

The North End Fire Station is located at 140 Commerce Drive and is one of the six (6) fire stations that encompass the Fire Department in Fall River.

The main accessible entrance to the fire station is on Commerce Drive. This entrance also serves as one of the building’s emergency exits; three (3) additional emergency exits are located on the north and east sides of the building.

There are two parking lots near to the fire station. A small parking lot is located on the south side of the building near the main entrance, there are seven (7) accessible parking spaces including one accessible parking space. A large parking lot on the north side of the building has 22 parking spaces but no accessible parking spaces.

Key Accessibility Issues

Accessibility issues include:

- Lack of a compliant van accessible parking space.

- Excessive threshold at the main entrance door.

- Lack of egress signs at the emergency exits.

- Lack of insulated pipes at the lavatories in the toilet rooms.

Order of Magnitude Cost Estimates

Miscellaneous corrective actions (van accessible parking space, egress signs, lavatories, change in level, etc.):

Total: $1,870