## Introduction

This ADA Self-Evaluation report includes a summary of the City’s policies obtained by an on-line ADA questionnaire developed by the Institute for Human Centered Design (IHCD). This Self-Evaluation report also includes a summary of architectural barriers identified during accessibility surveys performed by IHCD teams between March – May 2019.

Together these findings are designed to help move the City towards full compliance with its obligations under the Title II of the Americans with Disabilities Act (ADA) and/or the 521 CMR Massachusetts Architectural Access Board regulations.

For clarity, this ADA Self-Evaluation report is organized as follows:

- Legal Overview;

- Summary of the Evaluation of Policies in Programs, Services, and Activities;

- Summary of the Evaluation of Facilities.

## Legal Overview

The City of Fall River is obligated by both Federal laws and State codes concerning the rights of people with disabilities in the daily provision of programs, services, and activities.  At the end of this report, there is a comprehensive list of relevant laws.

### Federal Obligation: American with Disabilities Act (ADA)

Based on the 1964 Civil Rights Act and expanding upon the obligations of the 1973 Rehabilitation Act, the 1990 ADA prohibits discrimination against people with disabilities. The ADA provides civil rights protections to individuals with disabilities similar to those afforded to individuals on the basis of race, color, sex, national origin, age, and religion. The cornerstone of Title II of the ADA, which applies to state and local governments, is clear: no qualified person with a disability may be excluded from participating in, or denied the benefits of, the programs, services, and activities provided by state and local governments because of a disability.

The 2008 Amendments to the ADA (ADAAA), signed into law on September 25, 2008, describes in more detail the range of conditions covered by the civil rights protections of the ADA. The amendments expand the definition of “disability” to include impairments that substantially limit a major life activity and states that when determining whether someone qualifies as having a disability, one cannot take into account assistive devices, auxiliary aids, accommodations, medical therapies and supplies. The amendments also address episodic disabilities that may go into remission but still can significantly limit a major life activity when active, such as epilepsy and post-traumatic stress disorder. The ADA defines a disability as:

- A physical or mental impairment that substantially limits one or more major life activities (i.e. working, talking, hearing, seeing, caring for one's self);

- Having a record of a physical or mental impairment that substantially limits one or more major life activities;

- Being regarded by others as having an impairment such as individuals with severe facial scarring.

It is important to stress that the primary obligation to public entities such as the City of Fall River, under Title II of the Americans with Disabilities Act, is to ensure that, when viewed in their entirety, the programs, services, and activities offered are equally available to people with disabilities. The City is required to follow the 2010 ADA Standards for Accessible Design in new construction and alterations.  The 2010 ADA Standards must also be used for corrective actions if existing conditions don’t comply with the original ADA Accessibility Guidelines.  Municipalities also must relocate programs or otherwise provide access to programs located in inaccessible older facilities (e.g. facilities built before the ADA went into effect January 26, 1992). Ensuring program access may require capital investment when there is no alternative solution and should be a priority for corrective action.

Note that the websites of Title II entities are also considered “programs” and should be accessible to the standards of the Web Content Accessibility Guidelines 2.0 AA.  A review of the City of Fall River’s website will be provided as part of the scope of work of this contract.

The City must communicate effectively with people who have hearing, vision, or speech disabilities. Fall River is also required to make reasonable modifications to policies, practices, and procedures where necessary to ensure the equal participation of people with disabilities. Whatever is written or spoken must be as clear and understandable to people with hearing, vision, or speech disabilities as it is for people who do not have disabilities.  In addition, the ADA requires the provision of “auxiliary aid and service” to meet their responsibility for effective communication. Auxiliary aid and service refer to readers, notetakers, sign language interpreters, assistive listening systems, open and closed captioning, text telephones (TTYs), videophones, information provided in large print, braille, audible, or electronic formats, and other tools for people who have communication disabilities.

Following the passage of the ADA, the Department of Justice issued the 1991 ADA Standards for Accessible Design to address physical access to facilities and transportation. These standards were based almost exclusively on the US Access Board’s guidelines (ADA Accessibility Guidelines – ADAAG).  In 1994, slight technical amendments were made.  Then in 2004, the US Access Board issued new guidelines that were promptly adopted by the US Department of Transportation and other federal agencies. But only in 2010 did the Department of Justice issue a revised and updated ADA Standard called the 2010 ADA Standards for Accessible Design (2010 ADA Standards) that would apply to all Title II and Title III entities.  These standards revised requirements for policies such as ticketing and service animals, and for physical elements such as assembly seating, established construction tolerances for certain elements and formalized long-standing guidelines for play areas, golf courses, recreational boating facilities, swimming pools, and other recreational facilities.

Facilities that meet or exceed the 1991 ADA Standards are not required to make changes to the new 2010 Standards except in the case of renovation.  For elements that are non-compliant, the corrective measures must align with the 2010 ADA Standards. It is not expected that the buildings will meet or be brought up to all of the 2010 ADA Standards absent significant or total renovation. State and local governments must ensure that individuals with disabilities are not excluded from services, programs, and activities because buildings are inaccessible.  This means Title II entities do not need to remove physical barriers, such as stairs, in all existing buildings, as long as they make their programs accessible to individuals who are unable to use an inaccessible existing facility.

#### Alterations to historic properties under the ADA

Alterations to historic properties must comply with the specific provisions governing historic properties in the 2010 ADA Standards, to the maximum extent feasible. Under those provisions, alterations should be done in full compliance with the alterations standards for other types of buildings. However, if following the usual standards would threaten or destroy the historic significance of a feature of the building, alternative solutions may be used. The decision to use alternative solutions for that feature must be made in consultation with the appropriate historic advisory board as designated in the 2010 ADA Standards (for Massachusetts, the Massachusetts Historical Commission), and interested persons should be invited to participate in the decision-making process.

Note that any corrective actions needed to ensure program accessibility would also have to comply with the requirements of the 2010 ADA Standards for historic facilities.

### State Obligation:

#### Massachusetts Constitutional Amendment - Article 114

The Massachusetts Constitution states:

“No otherwise qualified handicapped individual shall, solely by reason of his handicap, be excluded from participation in, be denied the benefits of, or be subject to discrimination under any program or activity within the Commonwealth.”

Article 114 is written broadly. It prohibits discrimination based on disability on any level within the state, not just for recipients of state or federal funds. For example, City meetings must be held in an accessible location with sign language interpreters provided if needed, and the City cannot refuse to do business with an individual based on the person’s disability.

#### Massachusetts Architectural Access Board

The Architectural Access Board (AAB) is a regulatory agency whose mandate is to develop and enforce regulations designed to make public buildings accessible to, functional for and safe for use by persons with disabilities. See the Rules and Regulations of the Architectural Access Board 521 CMR.  In addition to writing regulations, the Board decides on variance requests, provides training on its regulations, issues advisory opinions and makes decisions on complaints. Local building inspectors are responsible for enforcing the regulations which are a specialized section of the Massachusetts Building Code. See 780 CMR.

The construction, reconstruction, remodeling, alteration, or change of use of a building or facility that is open to the public triggers the authority of the Architectural Access Board. New construction must fully comply.

For renovation, remodeling, or alteration:

•	The work being done must comply with the regulations.

•	If the work done in any 36-month period is greater than $100,000, the “work being performed” is required to comply.  In addition, an accessible entrance and an accessible toilet room, telephone and drinking fountain (if toilets, telephones and drinking fountains are provided) shall also be provided.

•	If the work done in a 36-month period is more than 30% of the “full and fair cash value” of the building,  the entire building must come into compliance.

Enforcement: Anyone can file a complaint with the Architectural Access Board. The Board has the authority to issue variances and/or impose fines of up to $1000 per violation per day of noncompliance with its order.

## Summary of the Evaluation of Policies in Programs, Services and Activities

Title II of the Americans with Disabilities Act (ADA) prohibits discrimination against qualified individuals with disabilities by public entities. Activities covered include all services, programs and activities offered by the public entity, all aspects of employment, services carried out by contractors, all activities of the local legislative and judicial branches and public transportation.

A thorough understanding of the requirements of Title II of the ADA is an essential responsibility of public entities.

Please note that a complete summary of the City’s policies, practices and procedures is included in Part B – Evaluation of Non – Discriminatory Policies and Practices in Programs, Services and Activities.

The ADA administrative requirements help to ensure that the needs of people with disabilities are addressed in all services, programs and activities that the City operates. A Title II entity is required to:

- Designate a Responsible Employee (ADA Title II - 28 CFR Part 35.107 (a)) to coordinate compliance with the ADA. The purpose of having a responsible employee – ADA Coordinator - is to ensure that when the public deals with a state or local government agency, the public is able to identify a person who is knowledgeable with the requirements of the ADA.

The City of Fall River has met its obligation to designate a responsible employee as the City’s ADA Coordinator. For information, members of the public will need to contact the City’s Clerk office.

- Adopt and distribute a public Notice (ADA Title II - 28 CFR Part 35.106) of the provisions of the ADA to members of the public who may participate in the City’s programs, services and activities. The effective notice should state the City’s obligations under the ADA and include the complete contact information of the ADA Coordinator.

The City has an ADA Notice on its website. However, from the responses submitted by staff it seems that the City of Fall River does not have a uniform policy regarding the posting of ADA Non-Discrimination Notices for members of the public. Multiple City departments reported that Notices were not posted.

The City should take steps to clarify the posting of the Notice of Non-Discrimination policy to comply with the ADA Title II that states that public entities shall take initial steps to notify program/service participants, beneficiaries and employees of its obligations.

IHCD recommends distributing the Notice to all department heads, publishing the Notice in all the materials distributed by the City, posting the Notice on the City’s website home page and posting copies in public locations in the City’s buildings.

- Develop and distribute Grievance Procedures (ADA Title II - 28 CFR Part 35.107 (b)) for prompt resolution of any complaint regarding disability discrimination.

The City’s website provides an Accessibility link to the Grievance Procedure form - The form is not accessible.

IHCD recommends the City take steps to clarify its Grievance Procedure by distributing to all department heads, and posting copies of it in noticeable locations in each of the City’s public buildings. Furthermore, ensure the City’s employees are aware of the Grievance Procedure process and can provide information to members of the public about the process when appropriate. Ensure the Grievance Procedure form is in an accessible format.

- Modify its Policies, Practices and Procedures (ADA Title II – 28 CFR Part 35.130(b)(7)) when necessary to avoid discrimination.

There is no evidence that the City has failed to reasonably modify its policies, practices and procedures when a reasonable modification is requested.

IHCD recommends the City take additional steps to ensure that City’s employees can provide information to members of the public about the process of requesting reasonable modification of policies when appropriate. The City should provide a form for requesting reasonable modifications of policies on the City’s website, and state the commitment to provide copies in accessible formats upon request.

- Provide Reasonable Accommodation (ADA Title II – 28 CFR Part 35.140(a)) to qualified employees with disabilities. This requirement may include modifying work schedules, job restructuring, and making facilities used by employees readily accessible to an employee with a disability, or moving the employee, if possible without compromising job responsibilities, to an accessible location. 

There is no evidence that the City has failed to provide reasonable accommodation to its employees. IHCD recommends that the City of Fall River becomes familiar with the excellent free national resources from the Job Accommodation Network (https://askjan.org).

- Provide Auxiliary aids and services (ADA Title II – 28 CFR Part 35.160) to ensure effective communication with people with disabilities. This provision requires ADA Title II entities to take steps to ensure that communication with members of the public and employees with disabilities is as effective as communication with others. This requirement may include but is not limited to providing sign language interpreters, providing Computer-Assisted-Real-time-Translation (CART), written materials for persons who are deaf or have difficulty hearing, braille or large print information or information in digital format for people who are blind or have difficulty seeing.

There is no evidence that the City has failed to provide Effective Communication when required. However, from the department responses, it seems that clarifying procedures of providing Effective Communication could be beneficial.

Finally, ensure that the City’s website and other web-based services are accessible to people with disabilities. It is the Department of Justice’s positon that when services are provided on a website, those services too must be made accessible.  The website should be considered a “program” of the City. (See web accessibility report).

## Summary of the Evaluation of Facilities

The analysis of existing conditions that encompasses the body of this evaluation is based on observations and documentation completed by IHCD team during site visits. This accessibility survey included the following facilities

### Public Buildings

Government Center

Police Department

Public Library

Veteran Center

Fire Museum – Animal Control

Fire Headquarters

North End Fire Station

Central Fire Station

Flint Fire Station

Candias Fire Station

Globe Fire Station

Stanley Fire Station

Public Works Building

Oak Grove Office - Cemeteries

North End Senior Center

Flint Senior Center

South Main Street Senior Center

Niagara Senior Center

Armory 72

Boyd Center*

* Boyd Center does not have any public programing and therefore was not surveyed.

In addition to the previously mentioned facilities, IHCD also surveyed the following parks/outdoor areas:

### Parks/Outdoor Areas

Abbott Court

Aetna Playground

Britland Park*

Cathy Assad Playground

Davis Playground

Desmaris Playground

Dumont Park

Father Travasso Park

Bicentennial Park*

Maplewood Park*

Bank Street Tot Lot

Columbus Playground

Griffin Park

Jose Silva Park

Kennedy Park*

Lafayette Park

Ruggles Park

Harbor Boardwalk

Highland Park

Quequechan Rail River Trail

Father Kelly Park

North Park

Pulaski Park

Thomas Chew Park

Turner Playground

* These parks also have Comfort Station facilities.

## Building Facilities Overview

Under Title II of the ADA, the City of Fall River must make sure that “No qualified individual with a disability shall, because a public entity's facilities are inaccessible to or unusable by individuals with disabilities, be excluded from participation in, or be denied the benefits of the services, programs, or activities of a public entity, or be subjected to discrimination by any public entity” [28 CFR Part 35.149].

A public entity may not deny the benefits of its programs, services and activities to individuals with disabilities because its facilities are inaccessible. This means that each program, service and activity of the City, when viewed in its entirety, must be readily accessible to and usable

by individuals with disabilities.” This requirement is known as Program Accessibility [28 CFR Part 35.150].

The program accessibility requirement does not necessarily require the City to make each existing facility accessible or to take any action that would threaten or destroy the historic significance of a historic property. Or require a public entity to take any action that it can demonstrate would result in a fundamental alteration in the nature of the program or in an undue financial and administrative burden.

The City may comply with the requirements through such means as redesign or acquisition of equipment, reassignment of services to accessible buildings, delivery of services at alternate accessible sites, alteration of existing facilities and construction of new facilities, or any other methods that result in making the City’s services, programs or activities readily accessible to and usable by individuals with disabilities. A public entity is not required to make structural changes in existing facilities where other methods are effective in achieving compliance with this section.

In choosing among available methods for meeting the requirements of this section, a public entity shall give priority to those methods that offer services, programs, and activities to qualified individuals with disabilities in the most integrated setting appropriate.

IHCD recommends the following improvements at the City Public Buildings:

### Government Center

- Renovate Hearing Room to provide an interior accessible route.*

- Provide an assistive listening system (Hearing Room).

- Provide compliant egress signs (illuminated International Symbol of Accessibility (ISA) and exit signs).

- Provide compliant designation signs.

- Provide compliant service counters.

- Renovate toilet rooms.

- Provide compliant drinking fountains (for seated and standing users).

*When renovating the Hearing Room ensure wheelchair spaces are integrated and that they provide viewing angles equivalent to viewing angles of other member of the general public.

### Police Station

- Provide an assistive listening system in the community room.

- Renovate emergency exit.

- Detention Area:

  - Provide compliant toilet/lavatory combo and compliant shower seat (detention cells).

  - Provide an accessible visiting area.

- Renovate toilet room.

- Provide a drinking fountain for a standing user.

### Public Library

- Renovate elevator.

- Provide compliant signs (designation and egress).

- Provide an accessible drinking fountain for standing users.

### Veterans Center

- Renovation to exterior ramps.

- Renovation to toilet rooms.

- Provide compliant signs (designation, egress and directional).

- Provide an accessible picnic table.

### Fire Museum/Animal Control

#### Fire Museum

- Provide an accessible single-user toilet room.

#### Animal Control

- Provide an accessible route (to the entrance located on Brownell Street).

- Provide an accessible single-user toilet room.

- Provide compliant door hardware.

### Fire Department Headquarters

- Renovate parking lots.

- Renovate route from emergency exit to parking lot.

- Provide compliant egress and designation signs.

- Renovate toilet rooms.

### North End Fire Station

- Provide a van accessible parking space.

- Provide compliant egress signs.

### Central Fire Station

- Renovate toilet rooms.

- Provide compliant signs.

- Provide accessible service counters.

### Flint Fire Station

This Fire Station is also a polling place. See report for Polling Places for recommendations.

### Candeias Fire Station

This Fire Station is also a polling place. See report for Polling Places for recommendations.

### Globe Fire Station

- Renovate toilet rooms.

- Provide compliant signs.

- Renovate parking lot.

- Provide a compliant service counter.

### Stanley Fire Station

- Renovate toilet room.

- Provide compliant signs.

- Renovate parking lot.

### Public Works Building

- Renovate toilet rooms.

- Provide a compliant Hi-Lo drinking fountain.

- Renovate parking lot.

- Provide a compliant service counter.

### Oak Grove Office – Cemeteries

- Renovate parking lot.

- Provide a compliant service counter.

### North End Senior Center

- Renovate curb ramps.

- Renovate toilet rooms.

- Provide compliant signs.

- Provide compliant work surfaces.

### Flint Senior Center (Pleasant Street)

- Renovate toilet room.

### South Main Street

- Provide compliant railings at the interior ramp.

- Renovate toilet room.

- Provide compliant directional and egress signs.

### Niagara Senior Center (Tucker Street)

- Provide one automatic door opener (conference room/office).

- Provide a compliant drinking fountain for standing users.

- Renovate toilet room.

### Armory 72

- Provide an exterior compliant switch-back ramp (east side).

- Provide a compliant curb ramp.

- Provide an interior accessible vertical route (elevator).

- Provide compliant signs (egress, designation and directional).

- Renovate toilet rooms.

- Replace door hardware throughout building.

## Outdoor Facilities Overview

The program accessibility obligation does not typically require that every outdoor area be made accessible. As noted before, “when viewed in its entirety” applies to programs for which there are multiple locations for comparable programs.  Usually, a public entity determines which method it will use for meeting its program accessibility obligations. When structural changes are made to existing facilities, the changes must comply with the 2010 ADA Standards for Accessible Design. When choosing to purchase equipment or to make structural changes, the public entity should factor financial resources required to maintain program accessibility.

Over time, the City will need to reassess its compliance with program accessibility, and it may become necessary to acquire new accessible equipment or make structural modifications

It is important to note that those elements in existing facilities that are subject to supplemental requirements of the 2010 ADA Standards (e.g. elements for which there are neither technical nor scoping specifications in the 1991 Standards) such as (C) Recreational boating facilities; (D) Exercise machines and equipment; (E) Fishing piers and platforms; (H) Play areas; (J) Swimming pools, wading pools, and spas; and (L) Miscellaneous - (1) Team or player seating and Accessible route in court sports facilities, need to be brought into compliance.

IHCD recommends the following improvements at the City Park / Outdoor Areas:

### Abbott Court Playground

- Provide an accessible route around the playgrounds and to each play component in the playgrounds.

- Provide an accessible route that connects all amenities in the park.

### Aetna Playground

- Provide an accessible route from all points of arrival.

- Provide an accessible route that connects all play amenities in the park.

- Provide accessible surfaces around and under play components.

### Bank Street Tot Lot

- Provide accessible surfaces in the playground to areas around and under play components.

- Provide an accessible route that connects all amenities in the park.

### Bicentennial Park

- Provide an accessible route that connects all amenities in the park.

- Provide accessible picnic tables.

- Provide a drinking fountain for standing users.

### Britland Park

- Renovate and provide accessible exterior routes.

- Provide an accessible route to and around the playground, and to each play component in the playground.

- Renovate toilet rooms.

- Renovate parking lot.

### Cathy Assad Playground

- Provide an accessible route that connects all amenities in the park.

- Provide an accessible route to and around the playground.

- Provide accessible surfaces around and under play components.

### Columbus Playground

- Provide compliant curb ramps.

- Provide an accessible route that connects all amenities in the park.

- Provide an accessible route around the playground and to each play component.

- Provide wheelchair clear floor spaces at team seating and sideline seating.

### Davis Playground

- Provide an accessible route that connects all amenities in the park.

- Replace play elements with accessible play equipment and provide an accessible route around the playground and to each play component.

### Desmarais Playground

- Provide an accessible route that connects all amenities in the park.

- Provide an accessible route to each play component.

### Dumont Park

- Provide an accessible route that connects all amenities in the park.

- Provide an accessible single-user toilet room.

### Father Kelly Park

- Provide an accessible route that connects all amenities in the park.

- Provide an accessible portable toilet.

### Father Travasso Park

- Provide wheelchair clear floor spaces at team seating areas.

### Griffin Park

- Provide an accessible route that connects all amenities in the park.

- Provide an accessible route to each play component.

### Highland Park

- Provide clear floor space at sidelines.

### Jose Silva Park

- Renovate and provide accessible exterior routes.

- Renovate gated entrances.

### John F. Kennedy Memorial Park

- Provide accessible routes to all areas of sport activity.

- Renovate parking lots.

- Renovate ramps.

- Renovate toilet rooms.

- Provide a compliant Hi-Lo drinking fountain.

### Lafayette Park

- Provide an accessible route that connects all amenities in the park.

- Provide an accessible route to and around the playground.

- Provide an accessible route to each play component in the playground.

- Provide an accessible portable toilet.

### Maplewood Park

- Provide and maintain accessible routes that connect all amenities in the park.

- Provide five (5) car accessible parking spaces and two (2) van accessible parking spaces in the parking lot on the south side of the park.

- Provide an accessible picnic table.

- Provide a drinking fountain for standing users.

### North Park

- Provide an accessible route that connects all amenities in the park.

- Provide two (2) curb ramps.

- Provide two (2) accessible portable toilets.

### Pulaski Park

- Provide an accessible route that connects all amenities in the park.

- Provide an accessible route to each play component in the playground.

### Ruggles Park

- Provide an accessible route to all amenities in the park.

- Provide an accessible route to and around the playground.

- Provide an accessible route to each play component in the playground.

### Thomas Chew Field

- Provide an accessible route around the playground and to each play component.

- Provide an accessible route that connects all amenities in the park.

- Provide a compliant clear floor space at the gates to dugouts.

### Turner Playground

- Provide an accessible route around the playgrounds and to each play component.

- Provide an accessible route that connects all amenities in the park.

## Polling Places Overview

In communities large and small, people cast their ballots in a variety of facilities that temporarily serve as polling places, such as libraries, schools, fire stations, churches, stores, and other buildings. The ADA requires that public entities ensure that people with disabilities can access and use their voting facilities.  The ADA’s regulations and the 2010 ADA Standards for Accessible Design set out what makes a facility accessible and should be used to determine the level of accessibility at any facility being considered for use as a polling place.

IHCD submitted a separate report (narrative and illustrated catalogs) for all the polling places that were surveyed on March 12, 2019 in the City of Fall River.

## Reference List:

Federal Laws:

- Americans with Disabilities Act (ADA)

- 2010 ADA Standards for Accessible Design

State Law:

- 521 CMR Massachusetts Architectural Access Board – Rules and Regulations

Guidance:

- ADA Action Guide for State and Local Governments: https://www.adaactionguide.org

- ADA Checklist for Existing Facilities: https://www.adachecklist.org

- Outdoor Developed Areas: A Summary of Accessibility Standards for Federal Outdoor Developed Areas: https://www.access-board.gov/attachments/article/1637/outdoor-guide.pdf

- US Access Board: https://www.access-board.gov/guidelines-and-standards/buildings-and-sites/about-the-ada-standards/guide-to-the-ada-standards/animations

- ADA Checklist for Polling Places: https://www.ada.gov/votingchecklist.htm

- Solution for Five Common ADA Access Problems at Polling Places: https://www.ada.gov/ada_voting/voting_solutions_ta/polling_place_solutions.htm

# Footnotes

To learn more about qualified individuals with disabilities or to read the full text of the ADA, please visit http://www.ada.gov

This is usually the assessed value established by the city or town. See 521 C.M.R. § 5.38 for details about establishing value where no assessment exists.

As described in 28 CFR 35.150(b)(2)(i) Title II ADA Regulations